IF YOU ARE APPLYING FOR THE INSTALLATION OF AN ON-SITE WASTE WATER MANAGEMENT SYSTEM

PLEASE USE THIS SHEET AS A CHECK LIST TO ENSURE ALL DOCUMENTATION IS PROVIDED.

- Complete drawings of the installation, drawn to a scale of not less than 1:200 or as agreed to by the Permit Authority (Council), showing the following:

(a) 	the title boundaries of the land;

(b) 	the position of any existing or proposed buildings on the land and their use;

(c) 	the position of any roads or driveways on the land;

(d) 	the location of any water courses;

(e) 	the contours on the land;

(f) 	the position of the disposal system, absorption trenches or other disposal methods;

(g) 	the location and size of any drains and vents;

(h) 	the location of any cut-off drains diverting surface or ground water;

(i) 	the location of the outlets from the building.

- Written details of the proposed fixture unit load on the system or parts of the system.

- A design report (including a site and soil evaluation in accordance with AS/NZS 1547: 2000 On-site domestic-wastewater management if applicable)

- A written specification or schedule detailing the construction of the absorption trenches or other disposal methods.

- A written specification of the disposal system to be used, including details of the following:

(a) 	the type of system;

(b) 	the trade name, if any;

(c) 	the manufacturer's name and address;

(d) 	the design capacity of the system.

- Any other document or certificate required by the relevant Environmental Health Officer.